## List data Fixed Asset SAP
List Data Fixed Asset
(lampiran 1)
Nama Unit | : Lab Analisa
Cost Centre | : S100R003
Kode Asset | Tanggal Beli | No Inventaris | Nama Fixed Asset | Pemegang FA (PIC) | Qty | Kondisi | Nama Ruangan/Lokasi | Keterangan
130200000049 | 1997-01-01 |  | Thermo Control Indicator, Solid State Relay Omron |  | 1 |  |  | Bukan milik Lab Analisa
130200000103 | 2000-01-01 |  | Precision Balance UWE |  | 1 |  |  | Bukan milik Lab Analisa
130200000122 | 2001-02-01 |  | Erweka Tablet Handness Tester |  | 1 |  |  | Bukan milik Lab Analisa
130200000124 | 2001-02-01 |  | Mesin Plasma Cutting |  | 1 |  |  | Bukan milik Lab Analisa
130200000150 | 2001-07-01 |  | Nampan Stainless 304 |  | 1 |  |  | Bukan milik Lab Analisa
130100000314 | 2004-01-01 |  | Tester Earth |  | 1 |  |  | Bukan milik Lab Analisa
130100000506 | 2004-11-01 | LAB00002 | Temperatur Kontrol Omron |  | 1 | sudah tidak terpakai
150100000203 | 2010-02-18 | LAB00005 | AC split duck kap 4 pk daikin |  | 1
130100001666 | 2013-01-30 | LAB00008 | Accessories Rak u/ Furnace Type 30400 | Anita M (Ass Analis) | 1 | Baik | Lab kimia 1
130100000961 | 2013-06-19 |  | FOOD PROCESSOR GASTRO |  | 1 |  |  | Bukan milik Lab Analisa
150100000162 | 2013-06-28 | LAB00009 | AC SPLIT 2PK 18LFG LG |  | 1
150100000163 | 2013-07-11 | LAB00010 | AC SPLIT 2PK LG TYPE:S18LFG |  | 1
130100000964 | 2013-07-16 | LAB00013 | GLASS WARE DRYER BKH TYPE 30 | Reni Arifia(Analis) | 1 | Rusak | Lab kimia 2
130100000968 | 2013-08-31 | LAB00014 | SINK TABLE ASO 12-75 L SINK |  | 1
130100000966 | 2013-08-31 | LAB00015 | WORK TABLE W/ UNDERSELD AND SPLASH BACK ATP 12-75 |  | 1 | Baik | Lab Analisa
130100000967 | 2013-08-31 | LAB00016 | WORK TABLE W/ UNDERSELD AND SPLASH BACK ATP 12-75 |  | 1 | Baik | Lab Analisa
140100000399 | 2013-09-17 | LAB00017 | PRINTER EPSON L110 | Hartini (Ass Penyelia) | 1 | Baik | lab Instrument 1
110100000081 | 2013-09-18 |  | Pekerjaan proyek pembangunan Gdg Lab Herbafarm |  | 1 |  |  | Bukan milik Lab Analisa
140100000280 | 2013-09-27 |  | CPU |  | 1 |  |  | Spek belum jelas
140100000404 | 2013-10-28 | LAB00018 | SWITCH HP 8 PORT | Khusnan (Ass penyelia) | 1 | Baik | lab Instrument 1
130100000979 | 2013-11-01 | LAB00019 | OVEN MEMMERT MODEL UN 55 | Retno Rena (Analis) | 1 | Baik | Lab kimia 3
130100000974 | 2013-11-08 | LAB00021 | MEJA STAINLESS STEEL STPA 18-75 |  | 1 | Baik | Lab Analisa
130100000978 | 2013-11-08 | LAB00022 | N/SWAGE NEEDLE 15 UL,FTN | Dwi RH (Penyelia) | 1 | Baik | lab Instrument 1
130100000976 | 2013-11-08 | LAB00023 | RAK GELAS SPRP 12-50 ADJUSTABLE PUNCHED |  | 1 | Baik | Lab Kimia
130100000977 | 2013-11-08 | LAB00024 | RAK REAGENT STSW18-30 |  | 1 | Baik | Lab Kimia
130100000975 | 2013-11-08 | LAB00025 | WASTAFEL W/SPLASH BACK APSO 7.5-75 |  | 1 | Baik | Lab Analisa
130100000971 | 2013-11-08 | LAB00026 | WORK COUNTER W/ SLIDING DOOR W/SPLASH BACK |  | 1 | Baik | Lab Analisa
130100000972 | 2013-11-08 | LAB00027 | WORK COUNTER W/ SLIDING DOOR W/SPLASH BACK |  | 1 | Baik | Lab Analisa
130100000973 | 2013-11-08 | LAB00028 | WORK COUNTER W/ SLIDING DOOR W/SPLASH BACK |  | 1 | Baik | Lab Analisa
130100000982 | 2014-02-01 | LAB00030 | TRAY AUTOSAMPLER AGILENT 7693A | Sulis (Ass Penyelia) | 1 | Baik | Ruang GC-GCMS
130100001734 | 2014-04-01 | LAB00032 | Lemari asam class A STANDARD TYPE A 150 | Tri Nur J (Analis) | 1 | Baik | Lab kimia 3
130100000987 | 2014-04-28 | LAB00033 | DESICATOR NO VACUM DURAN CAP 10.5LT | Marita (ass Analis) | 1 | Baik | Lab kimia 2
130100000993 | 2014-07-04 | LAB00035 | WORK TABLE WITHOUT SPLASH BACK |  | 1 | Baik | Lab Analisa
130100000994 | 2014-07-04 | LAB00036 | WORK TABLE WITHOUT SPLASH BACK |  | 1 | Baik | Lab Analisa
130100001570 | 2014-08-07 | LAB00037 | ICP-MS AGILENT 7700 X | Nova SB (Ass Penyelia) | 1 | Baik | Ruang ICP MS
130100001002 | 2014-11-11 | LAB00038 | Precision cell made of synthetic quartz glass | Desi K (Analis) | 1 | Baik | lab Instrument 1
130100001003 | 2014-11-17 | LAB00040 | 6-Position digital hotplate stirer | Sandya (Analis) | 1 | Pemanas Rusak | Lab kimia 2
130100001005 | 2014-11-28 | LAB00041 | Bench Conductivity | Desi K (Analis) | 1 | Baik | lab Instrument 2
110100000102 | 2014-12-01 |  | Lab SMPN KLEPU |  | 1 |  |  | Bukan milik Lab Analisa
130100001007 | 2014-12-15 | LAB00042 | hotplate stirer cimarec sp | Ririt (Ass Analis) | 1 | Baik | Lab kimia 3
130100001008 | 2014-12-15 | LAB00043 | hotplate stirer cimarec sp | Q. Nada (Analis) | 1 | Baik | Lab kimia 1
130100001009 | 2014-12-19 | LAB00044 | hellma quartz cuvet light path | Desi K (Analis) | 1 | Baik | lab Instrument 1
130100001010 | 2014-12-22 | LAB00046 | ATP 5.5-120 Work table |  | 1 | Baik | Lab Analisa
130100001015 | 2014-12-22 | LAB00047 | EPRP 12-50 SO W/STP ADJUSTABLE |  | 1 | Baik | Lab Analisa
130100001013 | 2014-12-22 | LAB00048 | EPRP 15-45 H900 PUNCHED |  | 1 | Baik | Lab Analisa
130100001014 | 2014-12-22 | LAB00049 | EPRP 15-50 H1200 PUNCHED |  | 1 | Baik | Lab Analisa
130100001011 | 2014-12-22 | LAB00050 | STPA12-60 SO work table |  | 1 | Baik | Lab Analisa
130100001012 | 2014-12-22 | LAB00052 | work table w/ undershelf w/o splash back |  | 1 | Baik | Lab Analisa
130200000888 | 2015-01-09 | LAB00053 | Delsamax pro, particle sizing | Nova SB (Ass Penyelia) | 1 | Baik | lab Instrument 2
130100001757 | 2015-01-12 | LAB00055 | Bod oxidirect complete system with 6 GMBH | Tri Nur J (Analis) | 1 | Baik | Lab kimia 3
130100001017 | 2015-01-27 | LAB00056 | Timbangan elektronik sartorius AG |  | 1
130100001020 | 2015-02-02 | LAB00057 | 4 position digital hotplate stirrer | Cahya AP (Ass Analis) | 1 | Baik | Lab kimia 3
130100001021 | 2015-02-02 | LAB00058 | UL adapter untuk visco lvdv | Ismadatin Riri (Analis) | 1 | Baik
130100001026 | 2015-03-06 | LAB00059 | Thermo finnpipette S1 pipet filler blue | Enggar (Analis) | 1 | Baik | R.Mikro
130100001027 | 2015-03-19 | LAB00060 | work table w/ undershelf w/o splash back |  | 1 | Baik | Lab Analisa
130100001028 | 2015-03-23 | LAB00061 | Solvac filter holder pall | Malvin (Ass Penyelia) | 1 | Baik | Lab kimia 1
130100001029 | 2015-04-03 | LAB00065 | Adapter venting cooling system for AAS contr | Indah K (Penyelia) | 1 | sudah tidak terpakai |  | Alat AAS sudah Di trade in
140100000461 | 2015-04-10 | LAB00066 | CPU komputer | Cicilia (Analis) | 1 | Baik | R. Pembacaan ALT ( L. Mikro)
140100000464 | 2015-04-10 | LAB00067 | Monitor LED LG 19,5" WIDE | Cicilia (Analis) | 1 | Baik | R. Pembacaan ALT ( L. Mikro)
140100000462 | 2015-04-10 | LAB00068 | UPS APC BX 650 LI | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
140100000463 | 2015-04-10 | LAB00075 | UPS APC BX 650 LI | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
130100001030 | 2015-04-17 | LAB00076 | chemical duty vacuum/pressure pump | Ririt (Ass Analis) | 1 | Baik | Lab Kimia 3
130100001031 | 2015-04-17 | LAB00077 | all-glass filter holder assembly with funnel | Malvin (Ass Penyelia) | 1 | Baik | Lab kimia 1
130100001037 | 2015-05-05 | LAB00078 | assy, solvent filter kode : wat025531 | Dewie Koes H (Penyelia | 1 | sudah tidak terpakai | lab Instrument 1 | Consumable Part
130100001042 | 2015-05-05 | LAB00079 | filter insert assy | Dewie Koes H (Penyelia) | 1 | Baik | lab Instrument 1 | Consumable Part
130100001040 | 2015-05-05 | LAB00080 | plunger, seal wash, pkg (2), 2690 | Dewie Koes H (Penyelia | 1 | Baik | lab Instrument 1
130100001038 | 2015-05-05 | LAB00081 | seal, face, pkg (4), 2690 | Dewie Koes H (Penyelia) | 1 | sudah tidak terpakai | lab Instrument 1 | Consumable Part
130100001039 | 2015-05-05 | LAB00082 | seal, plunger, pkg (2), 2690 | Dewie Koes H (Penyelia) | 1 | sudah tidak terpakai | lab Instrument 1 | Consumable Part
130100001041 | 2015-05-05 | LAB00083 | valve, chek, ceramic, pkg (2), perf plus | Dewie Koes H (Penyelia) | 1 | sudah tidak terpakai | lab Instrument 1 | Consumable Part
130100001580 | 2015-06-03 | LAB00084 | AWC 12-75 work counter w/ sliding door and splash |  | 1 | Baik | Lab Analisa
130100001581 | 2015-06-03 | LAB00085 | AWC 12-75 work counter w/ sliding door and splash |  | 1 | Baik | Lab Analisa
130100001579 | 2015-06-03 | LAB00086 | SCCS 12-60 upright cabinet w/ swing door |  | 1 | Baik | Lab Analisa
130100001043 | 2015-06-09 | LAB00089 | controller module excelent 10/2004 |  | 1
150100000175 | 2015-11-18 | LAB00090 | AC split 2 pk panasonic | Desi K (Analis) | 1 | Baik | Lab kimia 3
150100000176 | 2015-11-18 | LAB00091 | AC split 2 pk panasonic | Desi K (Analis) | 1 | Baik | Lab kimia 3
140100000481 | 2016-02-09 | LAB00092 | UPS protecta ups vgd-10kva | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
130100001070 | 2016-04-26 | LAB00093 | heating mantle kode: HMIC-F100 labentech | Ririt (Ass Analis) | 1 | Baik | Lab kimia 3
130100001073 | 2016-05-24 | LAB00094 | food blender mixer (blixer3) 33141 robot coupe | Indah K (Penyelia) | 1 | Rusak | Gudang Lab Kimia | Rusak tidak dapat diperbaiki
130100001820 | 2016-06-22 |  | alat kadar air MA37-1 sartorius |  | 1 |  |  | Bukan milik Lab Analisa
130100001821 | 2016-06-24 | LAB00096 | timbangan analytical practum 224-1S | Wulan Tria (Analis) | 1 | Baik | Lab kimia 1
130200000928 | 2016-06-29 | LAB00097 | alat HPLC agilent infinity 1260 | Hartini (Ass Penyelia) | 1 | Baik | lab Instrument 1
130200000934 | 2016-08-12 | LAB00099 | alat gas chromatograph agilent 7890B system | Indah K (Penyelia) | 1 | Baik | Ruang GC-GCMS
130100001604 | 2016-09-01 | LAB00100 | ATP 12-75 work table w/underhelf and splash |  | 1 | Baik | Lab Analisa
130100001605 | 2016-09-01 | LAB00101 | ATP 12-75 work table w/underhelf and splash |  | 1 | Baik | Lab Analisa
130100001606 | 2016-09-01 | LAB00102 | ATP 12-75 work table w/underhelf and splash |  | 1 | Baik | Lab Analisa
150200000108 | 2016-11-01 | LAB00104 | loker 6 pintu merk elite type EL-466 |  | 1 | Baik | Pos Satpam 2
150200000109 | 2016-11-01 | LAB00105 | loker 6 pintu merk elite type EL-466 |  | 1 | Baik | Pos Satpam 3
150200000106 | 2016-11-01 | LAB00106 | loker 6 pintu merk elite type EL-466 wrn dark grey |  | 1 | Baik | Pos Satpam 4
150200000107 | 2016-11-01 | LAB00107 | loker 6 pintu merk elite type EL-466 wrn dark grey |  | 1 | Baik | Pos Satpam 5
130100001093 | 2016-11-02 |  | Digital ScaleBBA 231-3BB35A metler toledo KAP30 kg |  | 1 |  |  | Bukan milik Lab Analisa
150300000040 | 2016-12-02 | LAB00110 | BD600 BOD system for 6 measuring places | Tri Nur J (Analis) | 1 | Baik | Lab kimia 3
130200001277 | 2016-12-22 | LAB00111 | multiwave go 50HZ | Antalgin (Analis) | 1 | Baik | Lab kimia 1
130200001279 | 2017-01-01 | LAB00112 | pressure vessel 12HVT50 | Antalgin (Analis) | 1 | Baik | Lab kimia 1
150100000219 | 2017-01-31 | LAB00113 | ac central / splitduck mc quay |  | 1
150100000214 | 2017-01-31 | LAB00114 | AC SPLIT 3/4 PK LG STANDAR |  | 1
130300000000 | 2017-02-01 | LAB00119 | UHPLC acquity ARC system core5-CH30-A, FTN-R W/TC | Dita NY & Khusnan(Ass Penyelia) | 1 | Baik | lab Instrument 1
140100000590 | 2017-02-06 | LAB00120 | UPS merk APC seri mart UPS SRT 3000 VA | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
140100000589 | 2017-02-06 | LAB00121 | UPS merk APC seri mart UPS SRT 5000 VA | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
150200000118 | 2017-03-01 | LAB00122 | work counter w/ sliding door and splash AWC 12-75 |  | 1 | Baik | Lab Analisa
150200000114 | 2017-03-01 | LAB00123 | work table w/ undershelf and splash ATP 12-75 1200 |  | 1 | Baik | Lab Analisa
150200000115 | 2017-03-01 | LAB00124 | work table w/ undershelf and splash ATP 12-75 1200 |  | 1 | Baik | Lab Analisa
150200000113 | 2017-03-01 | LAB00125 | work table w/ undershelf and splash ATP 15-75 1500 |  | 1 | Baik | Lab Analisa
150200000116 | 2017-03-01 | LAB00126 | work table w/ undershelf and splash ATP 18-75 1800 |  | 1 | Baik | Lab Analisa
150200000117 | 2017-03-01 | LAB00127 | work table w/ undershelf and splash ATP 18-75 1800 |  | 1 | Baik | Lab Analisa
150200000119 | 2017-03-01 | LAB00128 | work table w/ undershelf W/O splash STPA 18-75 180 |  | 1 | Baik | Lab Analisa
150300000050 | 2017-03-02 | LAB00131 | acid storage nadiso nds e-130 | Ardian (Ass Analis) | 1 | Baik | Lab kimia 3
150300000051 | 2017-03-02 | LAB00132 | flammable storage nadiso nds e-003 | Ardian (Ass Analis) | 1 | Baik | Lab kimia 3
150300000062 | 2017-04-27 | LAB00134 | Spektrofotmeter double beam uv-2600 | Dewi Endah (Analis) | 1 | Baik | lab Instrument 1
150300000080 | 2017-05-16 | LAB00137 | UPS merk APC seri smart SRT 3000va | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
130100001855 | 2017-06-12 |  | overhead RW 20 include: plate stand R1826 |  | 1 |  |  | Bukan milik Lab Analisa
130100001845 | 2017-06-21 |  | Pompa submersible |  | 2 |  |  | Bukan milik Lab Analisa
130100001854 | 2017-07-18 | LAB00139 | thermostatically bod incubator model TC135 lovibon | Tri Nur J (Analis) | 1 | Baik | Lab kimia 3
130200001428 | 2017-07-27 |  | dust collector ruang conveyor |  | 2 |  |  | Bukan milik Lab Analisa
130100001849 | 2017-08-01 |  | pompa air shimitzu PS130BIT |  | 2 |  |  | Bukan milik Lab Analisa
150300000108 | 2017-08-29 | LAB00140 | UPS APC Smart 5000 VA, kode: SRT 5K RM XLI | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
150300000128 | 2017-09-28 | LAB00141 | anaerobic jar (3.5L) | Kholiq S (Analis) | 1 | Baik | R. Uji Cemaran (L. Mikro)
150300000147 | 2018-01-09 | LAB00143 | Hot plate stirrer thermolyne cimarec SP88857107 | Ririt (Ass Analis) | 2 | Baik | Lab kimia 3
150300000148 | 2018-01-09 | LAB00144 | Hot plate stirrer thermolyne cimarec SP88857107 | Cahya AP (Ass Analis) | 2 | Baik | Lab kimia 3 | 1 Unit
150300000145 | 2018-01-12 | LAB00145 | Hand refractometers Master - 80H | Retno (Ass Analis) | 1 | Baik | Lab kimia 2 | 1 Unit
150300000106 | 2018-02-21 | LAB00147 | camag TLC scanner 4 & HPTLC software | Anissa Marda (Ass Penyelia) | 4 | Baik | Ruang TLC
150300000140 | 2018-03-05 | LAB00148 | LP vortex mixer (alat u/ mixing sampel) | Citra Arum (Ass Penyelia) | 2 | Baik | R. Uji Cemaran (L. Mikro) | 1 Unit
150300000135 | 2018-03-15 | LAB00149 | ICC control ECO 18 L (alat water bath) | Imro'atun (analis) | 4 | Baik | Lab kimia 1
150300000146 | 2018-03-16 | LAB00151 | Hand refractometers Master - 93H | Retno (Ass Analis) | 1 | Baik | Lab kimia 2 | 1 Unit
150200000132 | 2018-06-11 | LAB00153 | Meja stainless ATP15-75 Work table |  | 2 | Baik | Lab Analisa
150200000130 | 2018-06-11 | LAB00154 | Meja stainless AWC12-75 Work counter |  | 2 | Baik | Lab Analisa
150300000164 | 2018-08-07 | LAB00156 | Refrigrated table (NRT 2C 750 NI SM "Nayati") | Retno Rena (Analis) | 2 | Baik | Lab kimia 3
150200000131 | 2018-08-30 | LAB00157 | Meja stainless ATP18-75 Work table |  | 2 | Baik | Lab Analisa
150300000165 | 2018-09-03 | LAB00159 | PCR CFX96 Touch Deep Well Real Time PCR Detection | Khusnan (Ass penyelia) | 2 | Baik | Lab PCR | 1 Unit
150300000218 | 2018-09-30 | LAB00162 | Argon Flow Controller, 7700X/S | Nova SB (Ass Penyelia) | 1 | sudah tidak terpakai | Ruang ICP MS
150300000200 | 2018-10-02 | LAB00155 | Electronic Balance(s) BSA 22025-CM "Sartorius" | Nur Ika (Analis) | 1 | Baik | Lab Mikro
150300000215 | 2018-11-02 | LAB00163 | UPS APC Smart UPS SRT 5000VA, 230V, SRT5KXLI | Yosia Adi (Ass Penyelia) | 2 | Baik | Lab Kimia
150300000195 | 2018-12-04 | LAB00164 | Ezstream 1 Ez-Stream Universal Pum "Millipore USA" | Iyon P (Analis) | 5 | Baik | R. Uji Cemaran (L. Mikro)
150300000234 | 2018-12-04 | LAB00166 | Muffle Furnace "Thermolyne" Type: F480140-33 | Anita M (Ass Analis) | 2 | Baik | Lab kimia 1
150300000160 | 2018-12-13 | LAB00168 | electronic balance(s) SECURA 225D-15"SARTORIUS" | Annisa (Analis) | 2 | Baik | Ruang Timbang 1 (L. Kimia) | 1 Unit
140100000695 | 2018-12-18 | LAB00169 | UPS APC Smart SRT5000VA, 230V, kode: SRT5KXLI | Yosia Adi (Ass Penyelia) | 2 | Baik | Lab Kimia
150300000171 | 2018-12-19 | LAB00170 | AAS type PinAAcle 900F Perkin Elmer USA | Desta (Ass Penyelia) | 2 | Baik | Ruang AAS
150300000236 | 2018-12-19 | LAB00171 | Incubator Memmert Type IN750 | Kholiq S (Analis) | 2 | Baik | R. Uji Cemaran (L. Mikro)
150300000233 | 2019-03-19 | LAB00174 | Refractometer "Metler" Type:30-GS | Marita (ass Analis) | 2 | Baik | Lab kimia 1
150100000203 | 2019-03-20 | LAB00175 | Kompresor Copeland Scrool 5PK |  | 1
150300000268 | 2019-05-02 | LAB00176 | Ultrasonic Cleaner Bransonic Type:BransonCPX3800HE | Novi (Ass Analis) | 2 | Baik | Lab kimia 1 | 1 Unit
140100000733 | 2019-06-14 | LAB00179 | Laptop 14 inch | Khusnan (Ass penyelia) | 1 | Baik | Lab Analisa
150300000310 | 2019-06-20 | LAB00180 | Stirer Thermo Scientific Cimarec 230 VAC | Khusnan (Ass penyelia) | 2 | Baik | Lab Analisa | 1 Unit
140100000737 | 2019-06-24 | LAB00182 | UPS APC Smart SRT 5000VA | Yosia Adi (Ass Penyelia) | 2 | Baik | Lab Kimia
150300000333 | 2019-08-01 | LAB00184 | Incubator IN55 Memmert | Iyon P (Analis) | 2 | Baik | R Kapang ( L..Mikro)
150300000317 | 2019-08-01 | LAB00185 | Inductive Stirrer for BOD (6place) | Tri Nur J (Analis) | 2 | Baik | Lab kimia 3
150300000344 | 2019-08-08 | LAB00187 | 4 positions digital hot plate stirrer labincoLD814 | Ana M (Analis) | 2 | Baik | Lab kimia 1
150300000364 | 2019-08-28 | LAB00161 | Labu Ukur 10Ml + Tutup Kaca | Rima (Analis) |  | Baik | Lab Kimia 1 | Consumable Part
150300000348 | 2019-09-02 | LAB00190 | Vortex Mixer Merk DLAB No Kat : MX-S | Ifa Dan Aldi (Analis) | 2 | Baik | Lab Kimia
150300000334 | 2019-09-23 | LAB00191 | Autoclave Merk Hirayama, Type HV-25 | Pradita (Analis) | 2 | Baik | R. Sterilisasi (L. Mikro)
150300000370 | 2019-10-02 | LAB00192 | Upright Freezer Fresta FR100A-1 | Sulis (Ass Penyelia) | 2 | Baik | Ruang Reagent
140100000786 | 2019-11-04 | LAB00195 | Smart UPS APC SRT5KXLI | Yosia Adi (Ass Penyelia) | 2 | Baik | Lab Kimia
140100000807 | 2019-11-20 | LAB00197 | Scanner Canon image formula p215ii | Danti (Administrasi) | 1 | Baik | lab Instrument 1
150300000335 | 2019-11-25 | LAB00198 | Waterbath ICC Basic Eco 18 IKA Kap 18 Liter | Asih dyah & Ima (Analis) | 2 | Baik | L. Mikro dan L Kimia 1
150300000362 | 2020-01-02 | LAB00199 | Incubator w/fan Memmert Type IF55 |  | 2 |  | Lab Mikro
150300000353 | 2020-02-04 | LAB00200 | Benchlop digital AW Meter w/temp. control Metergro | Dita NY(Ass Penyelia) | 2 | Baik | lab Instrument 2
150300000371 | 2020-02-11 | LAB00204 | Desicator cabinet w/gasket Nalgene | Sulis (Ass Penyelia) & Vira F (Analis) | 2 | Baik | Ruang Reagent | 1 Unit
150300000428 | 2020-03-17 | LAB00206 | Airstream Class II Biological Safety Cabinet 4ft | Khusnan (Ass penyelia) | 2 | Baik | Ruang PCR
150100000260 | 2020-03-27 | LAB00207 | AC 2PK Panasonic YNISTKP |  | 1 |  |  | 1 Unit
150100000261 | 2020-03-27 | LAB00208 | AC 2PK Panasonic YNISTKP |  | 1
120100000070 | 2020-04-17 | LAB00210 | Instalasi dan Pemasangan Ducting AC |  | 1
140100000845 | 2020-04-28 | LAB00211 | Printer Epson L120 | Dwi RH (Penyelia) | 1 | Baik | lab Instrument 1
150300000429 | 2020-05-05 | LAB00212 | Airstream Class II Biological Safety Cabinet 4ft | Khusnan (Ass penyelia) | 2 | Baik | Ruang PCR
150200000207 | 2020-06-16 | LAB00213 | Todda Work counter w/sliding door w/undershelf |  | 2 | Baik | Ruang Reagent | 1 Unit
150300000430 | 2020-06-30 | LAB00214 | Nanodrop One Brand : Thermo Germany | Khusnan (Ass penyelia) | 2 | Baik | Lab PCR
150300000450 | 2020-07-09 | LAB00215 | Levo Plus Motorized pippete filter Cat DLAB | Enggar (Analis) | 1 | Baik | R.Mikro | 1 Unit
150300000451 | 2020-07-09 | LAB00216 | Levo Plus Motorized pippete filter Cat DLAB | Enggar (Analis) | 1 | Baik | R.Mikro
150300000464 | 2020-09-16 | LAB00217 | Under Counter chiller bench kap 350L | Desi R (Analis) | 2 | Baik | Lab Mikro
150300000454 | 2020-12-01 | LAB00218 | Mettler toledo semimicrobalance XSR205DU | Khusnan (Ass penyelia) | 2 | Baik | R Timbang lab PCR
150300000492 | 2020-12-18 | LAB00219 | Arc HPLC System With PDA Detector | Yosia Adi (Ass Penyelia) | 1 | Baik | lab Instrument 1 | 1 Unit
150300000487 | 2020-12-21 | LAB00220 | Airstream class II biological safety cabinet(E-ser | Siti Muawanah (Ass penyelia) | 1 | Baik | R. Uji Cemaran (L. Mikro)
150200000212 | 2021-01-13 | LAB00221 | Dry Keeper Desicator Cabinet | Ardian (Ass Analis) | 1 | Baik | Ruang Reagent
140100000893 | 2021-02-11 | LAB00223 | UPS APC 5000 VA, Kode : SRT5KXLI | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
140100000892 | 2021-02-11 | LAB00224 | UPS APC 5000 VA,Kode : SRT5KXLI | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
150300000504 | 2021-02-16 | LAB00225 | Vacum Pump u/ alat ICPMS | Nova SB (Ass Penyelia) | 1 | Baik | Ruang ICP MS
130100001570 | 2021-02-24 | LAB00226 | Sparepart ICPMS | Nova SB (Ass Penyelia) | 1 | Baik | Ruang ICP MS
150300000518 | 2021-03-09 | LAB00228 | Finnpipete F2 0,5 - 5 uL atau 0,5 - 10 uL cat. 464 | Khusnan (Ass penyelia) | 1 | Baik | Lab PCR
140100000914 | 2021-03-24 | LAB00229 | UPS APC 1000 VA kode : SRT 10KXLI | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
150300000515 | 2021-03-31 | LAB00230 | pH Meter PB-10 Sartorius | Adela (Analis) | 1 | Baik | Lab kimia 3
150300000522 | 2021-04-13 | LAB00231 | Hotplate Stirrer Model: SP 88857105.Cimarec | Pradita (Analis) | 1 | Baik | R Preparasi Media (L. Mikro)
150300000527 | 2021-04-30 | LAB00232 | Pipet Filler Thermo Scientific | Enggar (Analis) | 1 | Baik | R.Mikro
150300000549 | 2021-07-29 | LAB00233 | Incubator Memmert IN 260 | Kholiq S (Analis) | 1 | Baik | R Kapang ( L..Mikro)
140100001045 | 2021-08-04 | LAB00234 | UPS APC 3000 VA,kode SRT3000XLI | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
150300000544 | 2021-08-09 | LAB00235 | Karl Fischer Metrohm (890 KF Titrando with tiamo f | Aldi Ridson (Analis) | 1 | Baik | Lab kimia 2
150100000266 | 2021-08-27 | LAB00236 | Instalasi AC Ducting | Candra (Penyelia) | 1 | Baik | R.Mikro
140100001022 | 2021-08-30 | LAB00237 | PC,spek.Core i3-10100 (include monitor,mouse,keybo | Dwi RH (Penyelia) | 1 | Baik | lab Instrument 1
150100000271 | 2021-09-08 | LAB00238 | AC Cassete Kap 4PK Daikin Non Inverter R410A |  | 1
150300000512 | 2021-09-08 | LAB00239 | Oven Memmert UN 30 plus (include IQ OQ Document ka | Deniza (Ass Analis) | 1 | Baik | Lab kimia 3
150100000276 | 2021-09-15 | LAB00240 | AC Split Wall Daikin non inverter |  | 1
150300000566 | 2021-10-14 | LAB00241 | Vacuum desicator with novus Duran cat.247826954 | Deniza (Ass Analis) | 1 | Baik | Lab kimia 3
170100000220 | 2021-10-15 | LAB00242 | Lisensi Microsoft Office,Office 2019 STD SNGL OLP | Dwi RH (Penyelia) | 1 | Baik | lab Instrument 1
170100000219 | 2021-10-15 | LAB00243 | Lisensi sistem operasi windows 10 PRO SNGL OLP NL | Dwi RH (Penyelia) | 1 | Baik | lab Instrument 1
150200000223 | 2021-10-22 | LAB00244 | Meja stainless, Work counter cabinet swing door,W/ |  | 1 | Baik | Lab Analisa
150300000573 | 2021-10-27 | LAB00245 | Twin Trough Chamber Camag Code No.022.5155 | Aldi Ridson (Analis) | 1 | Baik | Lab kimia 2
150300000574 | 2021-10-27 | LAB00246 | Twin Trough Chamber Camag Code No.022.5155 | Aldi Ridson (Analis) | 1 | Baik | Lab kimia 2
150100000279 | 2021-11-03 | LAB00247 | AC Split Duct DAIKIN Non Inverter | Candra (Penyelia) | 1 | Baik | R. Uji Cemaran (L. Mikro)
150300000572 | 2021-11-09 | LAB00248 | Autoclave Hiclave HVE 50 Hirayama | Jafar Adi (Analis) | 1 | Baik | R. Destruksi (L. Mikro)
140100001173 | 2021-12-03 | LAB00249 | PC,Spek:Prosesor Core i5,Gen 10 (include Keyboard, | Erni R (Ka. Lab Analisa) | 1 | Baik | R.Administrasi
150300000599 | 2021-12-13 | LAB00250 | Waterbath DSB-1000 Nesco | Kharisma (Analis) | 1 | Baik | Lab kimia 1
150200000242 | 2021-12-17 | LAB00251 | Meja Stainless Nayati (STPA 12-90,STPA 15-90,SWCA |  | 1 | Baik | Lab Analisa
150300000584 | 2021-12-21 | LAB00252 | Potensiometric Titrator Metrohm | Ismadatin Riri (Analis) | 1 | Baik | Lab kimia 1
150300000624 | 2021-12-21 | LAB00253 | Solvac Filter Holder PN.4020 PALL | Sri Nur (Ass Penyelia) | 1 | Baik | Lab kimia 1
150300000629 | 2021-12-22 | LAB00254 | Dispensette Organik cat.4730 151 Merk Brand | Ardian (Ass Analis) | 1 | Baik | Lab Analisa
150300000630 | 2021-12-22 | LAB00255 | Dispensette Organik cat.4730 151 Merk Brand | Ardian (Ass Analis) | 1 | Baik | Lab Analisa
150300000631 | 2021-12-22 | LAB00256 | Dispensette Organik cat.4730 151 Merk Brand | Ardian (Ass Analis) | 1 | Baik | Lab Analisa
150300000632 | 2021-12-22 | LAB00257 | Dispensette Organik cat.4730 151 Merk Brand | Ardian (Ass Analis) | 1 | Baik | Lab Analisa
150300000633 | 2021-12-22 | LAB00258 | Dispensette Organik cat.4730 151 Merk Brand | Ardian (Ass Analis) | 1 | Baik | Lab Analisa
150300000634 | 2021-12-22 | LAB00259 | Dispensette Organik cat.4730 151 Merk Brand | Ardian (Ass Analis) | 1 | Baik | Lab Analisa
170100000334 | 2021-12-23 | LAB00260 | Lisensi Microsoft Office,Office 2019 STD SNGL OLP | Indah K (Penyelia) | 1 | Baik | lab Instrument 1
150100000287 | 2021-12-28 | LAB00261 | AC Cassette R410 A,Non Inverter SC 100 CYX-Wireles | Meytrin (AssAnalis) | 1 | Baik | Lab kimia 1
150100000289 | 2022-01-20 | LAB00262 | Kompresor AC RNQ36MY14 Daikin | Aldi Ridson (Analis) | 1 | Baik | Lab kimia 1
150300000637 | 2022-02-08 | LAB00263 | Dispensette organik cat 4630 141 merk Brand | Ardian (Ass Analis) | 1 | Baik | Lab Analisa
150300000638 | 2022-02-08 | LAB00264 | Dispensette organik cat 4630 141 merk Brand | Ardian (Ass Analis) | 1 | Baik | Lab Analisa
150300000639 | 2022-02-08 | LAB00265 | Dispensette organik cat 4630 141 merk Brand | Ardian (Ass Analis) | 1 | Baik | Lab Analisa
150300000622 | 2022-02-23 | LAB00266 | Scan 4000 Automatic Colony Counter, Merk.Interscie | Desi Wulandari (L.Mikro) | 1 | Baik | L. Mikro
150300000591 | 2022-02-23 | LAB00267 | Timbangan Analitik,Mettler Toledo Semi micro balan | Winda (Analis) | 1 | Baik | R timbang 1
150300000621 | 2022-03-07 | LAB00268 | Spektrofotometer UV-2600i Shimadzu | Desi K (Analis) | 1 | Baik | lab Instrument 1
130200001609 | 2022-03-08 | LAB00269 | ICP-MS 7850 Agilent Technologies | Nova SB (Ass Penyelia) | 1 | Baik | Ruang ICP MS
150300000619 | 2022-03-10 | LAB00270 | Microwave Digestion / Multiwave Go 50Hz,Anton Paar | Antalgin (Analis) | 1 | Sedang Rusak | Lab kimia 1
130100001570 | 2022-03-29 | LAB00271 | Argon flow controller,7700x/s (Pb-Free) PN.G3280-6 | Nova SB (Ass Penyelia) | 1 | Baik | Ruang ICP MS
150300000655 | 2022-03-29 | LAB00272 | Blower Centrifugal MC-DE/M190R/3-1,1-NO | Yosia Adi (Ass Penyelia) | 1 | Baik | Ruang ICP MS | Consumable Part
130100001570 | 2022-03-30 | LAB00273 | Blower centrifugal CF-PP/FD200 NO | Yosia Adi (Ass Penyelia) | 1 | Baik | Ruang ICP MS
150300000653 | 2022-05-19 | LAB00274 | Airstream class II, biological safety cabinet (E s | Desy Rahmalisa (Analis) | 1 | Baik | R. Uji Cemaran (L. Mikro)
140100001277 | 2022-05-27 | LAB00275 | UPS APC SRT6KXLI | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
140100001278 | 2022-05-27 | LAB00276 | UPS APC SRT6KXLI | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
140100001279 | 2022-05-27 | LAB00277 | UPS APC SRT6KXLI | Yosia Adi (Ass Penyelia) | 1 | Baik | Lab Kimia
150300000683 | 2022-06-08 | LAB00278 | Travo Isolasi 10 KVA | Nova SB (Ass Penyelia) | 1 | Baik | Ruang ICP MS
140100001272 | 2022-06-27 | LAB00279 | PC,Spek.Prosessor Core i3-10100 (include Keyboard, | Indah K (Penyelia) | 1 | Baik | Ruang GC-GCMS
Note on I6: Ratih: Digunakan untuk produksi apa

## List Data Non Fixed Asset
List Data Non Fixed Asset
(lampiran 2)
Nama Unit | : Lab Analisa
Cost Centre | : S100R003
No. Inventaris | Tanggal Beli | Nama Non Fixed Asset | Pemegang FA (PIC) | Qty | Kondisi | Nama Ruangan/Lokasi | Keterangan
LAB00001 |  | TLC Scanner 3 | Diah Pravita (Ass Penyelia) | 1 | Baik | R TLC
LAB00003 |  | UPLC H-class Waters | Dwi RH (penyelia) | 1 | Baik | Lab Instrumentasi 1
LAB00004 |  | Laminar Air Flow | Cicilia (Analis) | 1 | Baik | R.Kapang (L.Mikro)
LAB00006 |  | Lampu HPLC Alliance Aacquity PDA | Dewie KH (Penyelia) | 1 | Baik | Lab Instrumentasi 1
LAB00007 |  | HPLC Alliance E 2695 W2489 | Dewie KH (Penyelia) | 1 | Baik | Lab Instrumentasi 1
LAB00011 |  | Timbangan Analitik CP 224 S sartorius | Imro'atun (Analis) | 1 | Baik | Lab Kimia 2
LAB00012 |  | Densitometer Antoon Paar | Reni Arifia (Analis) | 1 | Baik | Lab Kimia 2
LAB00020 |  | Oven Memmert D09906 | Jafar Adi (Analis) | 1 | Baik | R. Sterilisasi Alat (L. Mikro)
LAB00029 |  | Timbangan Analitik TE 412 | Nur Ika (Analis) | 1 | Baik | R.Preparasi Media (L.Mikro)
LAB00031 |  | Alliance HPLC System 220V/50 | Ulyana | 1 | Baik | Lab Instrumentasi 1
LAB00034 |  | Buchi Rotavapor R114 | Galih Andi (Analis) | 1 | Baik | Lab Kimia 1
LAB00039 |  | Melting Point SMP 1 | Fira (Analis) | 1 | Baik | Lab Kimia 2
LAB00045 |  | Incubator Memmert BE 500 | Fitri (Analis) | 1 | Baik | R.Kapang (L.Mikro)
LAB00051 |  | pH Meter Jenco Vision plus pH 6175 | Della (Ass Analis) | 1 | Baik | R.Preparasi Media (L.Mikro)
LAB00054 |  | Branson Sonicator 3150 | Dewi Rahma | 1 | Baik | Lab Kimia 1
LAB00062 |  | Colony Counter Bio Cote SC 6+ (R.570000043) | Nur Ika (Analis) | 1 | Baik | R.Kapang (L.Mikro)
LAB00063 |  | Colony Counter Bio Cote SC 6+ (R.570000043) | Nur Ika (Analis) | 1 | Baik | R.Kapang (L.Mikro)
LAB00064 |  | Colony Counter Bio Cote SC 6+ (R.570000738) | Nur Ika (Analis) | 1 | Baik | R.Kapang (L.Mikro)
LAB00069 |  | Hygrometer Innotech CTH-608 | Asih Dyah (Analis) | 1 | Baik | R.Kapang (L.Mikro)
LAB00070 |  | Hygrometer Innotech CTH-608 | Fitri (Analis) | 1 | Baik | R. Uji Cemaran (L. Mikro)
LAB00071 |  | Hygrometer Extech 445702 | Nur Ika (Analis) | 1 | Baik | R. Timbang (L. Mikro)
LAB00072 |  | Hygrometer Innotech CTH-608 | Dessy R (Analis) | 1 | Baik | R. Preparasi Media (L. Mikro)
LAB00073 |  | Hygrometer Extech 445702 | Pradita (Analis) | 1 | Baik | R. Preparasi Media (L. Mikro)
LAB00074 |  | Hygrometer Extech 445702 | Cicilia (Analis) | 1 | Baik | R. Pembacaan ALT (L Mikro)
LAB00087 |  | Komputer LG | Cicilia (Analis) | 1 | Baik | R. Pembacaan ALT (L Mikro)
LAB00088 |  | CPU Windows XP | Cicilia (Analis) | 1 | Baik | R. Pembacaan ALT (L Mikro)
LAB00095 |  | Chiller Porka | Sandya (Analis) | 1 | Baik | Lab Kimia 1
LAB00098 |  | Incubator Memmert INE 600 | Fitri (Analis) | 1 | Baik | R.Kapang (L.Mikro)
LAB00103 |  | Desicator Glasswerk Wertheim | Dian (Ass Analis) | 1 | Baik | Lab Kimia1
LAB00108 |  | Incubator IN 55 | Iyon (Analis) | 1 | Baik | R.Kapang (L.Mikro)
LAB00109 |  | Incubator Memmert IN 30 | Jafar Adi (Analis) | 1 | Baik | R.Kapang (L.Mikro)
LAB00115 |  | Komputer Asus Core i3 | Desi Wulandari (Analis) | 1 | Baik | R. Pembacaan ALT (L Mikro)
LAB00116 |  | CPU (pada kompuer asus Core i3) | Desi Wulandari (Analis) | 1 | Baik | R. Pembacaan ALT (L Mikro)
LAB00117 |  | Oven Memmert model UNE 600 | Desi Wulandari (Analis) | 1 | Baik | R. Sterilisasi Alat (L. Mikro)
LAB00118 |  | Oven Memmert model UM 600 | Desi Wulandari (Analis) | 1 | Baik | R. Sterilisasi Alat (L. Mikro)
LAB00129 |  | Conductivity Meter Autech | Desi K (Analis) | 1 | Baik | Lab Kimia 3
LAB00130 |  | Turbidity Meter Lovibond | Desi K (Analis) | 1 | Baik | Lab Kimia 3
LAB00133 |  | Extraction System B811 Buchi | Didha (Analis) | 1 | Baik | Lab Kimia 1
LAB00135 |  | Kjel Master K 360 | Pramita (Analis) | 1 | Baik | Lab Kimia 3
LAB00136 |  | Kjel Digester K446 | Pramita (Analis) | 1 | Baik | Lab Kimia 3
LAB00138 |  | Muffle Furnace F30420E | Adela (Analis) | 1 | Baik | Lab Kimia 3
LAB00142 |  | Hotplate Thermo Scientific Cimarec C 37105200 31 765963 | Pramita (Analis) | 1 | Baik | Lab Kimia 3
LAB00146 |  | Analitical Balance BSA 224S Sartorius | Retno Rena (Analis) | 1 | Baik | Lab Kimia 3
LAB00150 |  | COD Thermoreactor 571-1 | Desi K (Analis) | 1 | Baik | Lab Kimia 3
LAB00152 |  | Scubber K-415 | Pramita (Analis) | 1 | Baik | Lab Kimia 3
LAB00158 |  | Waterbath Memmert WNB 7-45 | Miftachul J (Analis) | 1 | Baik | Lab Kimia 2
LAB00160 |  | Stirer Cimarec Thermolyne 1071970928936 | Dian (Ass Analis) | 1 | Baik | Lab Kimia 1
LAB00165 |  | Oven Memmert model UN 55 | Vania (Analisa) | 1 | Baik | Lab Kimia 2
LAB00167 |  | Hotplate Cimarec Thermo Scientific | Aldi (Analis) | 1 | Baik | Lab Kimia 2
LAB00172 |  | Vortex | Fesa Aulia (Analis) | 1 | Baik | R. Uji Cemaran (L. Mikro)
LAB00173 |  | Air Sampler MAS 100NT | Siti Muawanah (Analis) | 1 | Baik | R. Timbang (L. Mikro)
LAB00177 |  | Printer HP Office Z 200 | Ismadatin Riri (Analis) | 1 | Baik | Lab Kimia 2
LAB00178 |  | Printer HP Deskjet 2336 | Aldi (Analis) | 1 | Baik | Lab Kimia 2
LAB00181 |  | Kjel Master K 375 | Reni Arifia (Analis) | 1 | Baik | Lab Kimia 2
LAB00183 |  | Incubator suhu 56°C 3M Attest | Iyon (Analis) | 1 | Baik | L..Mikro
LAB00186 |  | Force Air incubator BF 56 | Cicilia (Analis) | 1 | Baik | R.Kapang (L.Mikro)
LAB00188 |  | Digestion unit K 435 | Reni Arifia (Analis) | 1 | Rusak | Lab Kimia 2
LAB00189 |  | Scubber B414 | Reni Arifia (Analis) | 1 | Baik | Lab Kimia 2
LAB00193 |  | Viscometer Brookfield | Ismadatin Riri (Analis) | 1 | Baik | Lab Kimia 2
LAB00194 |  | Anemometer Extech 451104 | Vania (Analisa) | 1 | Baik | Lab Kimia 2
LAB00196 |  | Freezer Porka | Reni Arifia (Analis) | 1 | Baik | Lab Kimia 2
LAB00201 |  | Mikroskop Olympus BX-51 TF | Cicilia (Analis) | 1 | Baik | R. Pembacaan ALT (L Mikro)
LAB00202 |  | Autoclave Hirayama Hi-Clave HVA 85 | Pradita (Analis) | 1 | Baik | R. Destruksi (L.Mikro)
LAB00203 |  | Autoclave Hirayama HL 36 Ae | Asih Dyah (Analis) | 1 | Baik | R. Destruksi (L.Mikro)
LAB00205 |  | Eye Wash | Tri Nur J (Analis) | 1 | Baik | Lab Kimia 3
LAB00209 |  | Ruang Asam | Ambar & Denok | 1 | Baik | Lab Kimia 1
LAB00222 |  | Extraction unit E-816 Buchi | Ari W (Analis) | 1 | Baik | Lab Kimia 1
LAB00227 |  | Ultrapure water Synergy UV System | Nindya (Analis) | 1 | Baik | Lab kimia 1
LAB00280 |  | Refractometer Atago R 5000 | Marita (Ass Analis) | 1 | Baik | Lab Kimia 2
LAB00281 |  | Vortex D lab Mx S | Aldi (Analis) | 1 | Baik | Lab Kimia 2
LAB00282 |  | IR- Thermometer Fluke 62 Max | Tri Nur J (Analis) | 1 | Baik | Lab Kimia 3
LAB00283 |  | Desicator Novacum Duran Cap 10,5 LT | Ririt (Ass Analis) | 1 | Baik | Lab Kimia 2
LAB00284 |  | Desicator Novacum Duran Cap 10,5 LT | Anita M (Ass Analis) | 1 | Baik | Lab Kimia 2
LAB00285 |  | Chiller Nayati NR TA 2C 750 N8 | Retno Rena (Analis) | 1 | Baik | Lab Kimia 3
LAB00286 |  | Chiller Nayati NR TA 2C 750 N73 | Retno Rena (Analis) | 1 | Baik | Lab Kimia 3
LAB00287 |  | Ultra Pure Water Barnstead | Adela (Analis) | 1 | Rusak | Lab Kimia 3
LAB00288 |  | ShowCase | Ririt (Ass Analis) | 1 | Baik | Lab Kimia 2
LAB00289 |  | Ultrapure water Milli-Q EQ 7000 | Adela (Analis) | 1 | Baik | Lab Kimia 3
LAB00290 |  | Multiwave Go plus Anton Paar | Adela (Analis) | 1 | Baik | Lab Kimia 3
Dibuat Oleh, |  |  |  | Mengetahui,
( ) |  |  |  | ( )
Kepala Unit
Note on H6: Ratih: Diisi spec, warna, kegunaan, dll